Equipment Program

Clinical Considerations for Prescribers
High & Low Back Chairs

February 2013

Client Assessment:

- Consider diagnosis/prognosis – short term use vs long term need

- Check availability of other suitable chairs within the home

- Modifications to height and/or comfort of existing chair (e.g. chair blocks/raise/skids, cushions or wedges)

- Ability of client to purchase or borrow a suitable chair

- Client's weight (weight tolerance of the chair – as indicated on catalogue), pelvis width and height

- Hip and knee ROM and strength, upper limb/ hand ROM, strength and function

- Skin integrity and pressure care requirements if likely to be sitting for long periods of time

- Transfer ability

- Other needs whilst seated e.g. footstool, over way table, pressure cushion

- Discuss and assess client’s carer ability and willingness to assist client with transfers or transport of the chair (between rooms) if required.

Environment Assessment:

- Is there sufficient space within the room to place the chair

- Is the chair to be used in more than one room (low back geriatric chair)

- Do the armrests fit under the table? (low back geriatric chair)

Installation Considerations:

- Client's hips, knees and ankles should be at approximately 90 degrees

- Check that the client/carer can safely and easily transfer on and off the chair

- Refer to service coordinator if any of the following problems should occur:

- The client and/or carer exhibit any difficulty with transfers

- Chair too narrow

- Client/carer have difficulty moving low back geriatric chair in or out from under the table

Client/Carer Instructions

- Demonstrate and then observe client +/- carer performing safe and correct transfers on and off the chair

- Instruct carer on safe method of moving chair or assisting client with transfers

- Advise on general cleaning and maintenance of item

Safety and Review Considerations

Review – 12 monthly, as per standard procedure.  Review more frequently if client is heavy or transfers awkwardly.

Checklist

- Chair (including armrests, back and seat) in good condition, undamaged with no splits in vinyl

- Is chair still appropriate for client's needs?

- Is carer still able to assist with transfers as required?

- Any additional equipment / accessories required?