Domiciliary Equipment Service

Shower Platform Specification form

Client name:      	Client file no:

Request for:

Shower Platform

(A)

Measurements:	A 	 mm

B 	 mm

C 	 mm

D 	 mm

E 	 mm

Floor surface? (E.g. tiled, terrazzo)__________________

Are edges curved?	Yes / No

Indicate on diagram:	- Position of drain

- Entrance to cubicle

- Obstructions (e.g. footrest,

door swings in)

(B)				     (D)

(C)

Depth of shower recess (E)

Shower platform construction

- 6mm marine grade plywood

- Pinus support

- Underside coated with clear polyurethane

- Top surface painted with oil-based non-slip grey finish

NB: Home Modification agreement form does not need to be completed for installation of shower platform.

Prescriber name:      	                Date:

Please fax this form with Initial Home Modification Prescription form to DES on 1300 295 839.

Check for latest e-version, as photocopies may be out of date:                                                              Released   17/5/13

Phone: 1300 295 786          Fax: 1300 295 839           Email: equipment.feedback@dcsi.sa.gov.au                   Page 1 of 1