Specific Eligibility Criteria: Long Ramps

| Assessor / Prescriber | Prescriber Level | Delegate approval required |
| --- | --- | --- |
| Occupational Therapist Physiotherapist | Occupational Therapist Physiotherapist | Yes for ramps with a change in level of over 300 mm only |

Definition: A ramp for a change in level of greater than 190mm or where a step ramp or threshold ramp is unsuitable.

Modifications Completed (as clinically required):

•	Demolish existing steps and/or pathways

•	Repair or widen existing pathways where they are the only path to/from the ramp

•	Install additional pathway only from the ramp to suitable access point e.g. driveway

•	Install landings as required by AS 1428.1

•	Install a long ramp

•	Install kerbs or kerb rails on the ramp

•	Install hand rails

•	Install a non-slip finish

•	Install high visibility edging

Relocate garden tap, gully trap etc

Features not provided: • Painting or coloured rails for aesthetic reasons • Repairs or upgrades to any existing structures or systems e.g. decks, clothes line etc. • Repairs or installation of pathways not required for direct home access • Covered walkways • Carports, garages, driveways or parking areas • Fences or gates • Gardening or landscaping • More than one long ramp • Sensor lights

Clinical indicators for provision of a Long Ramp:

Only provided with authorisation from the specified delegate(s) and when all the General Home Modification and Major Home Modification criteria are met and it can be demonstrated that the following task impacts on any of the Key Approval Criteria for Home Modifications:

- Access: The client is unable to safely enter and exit their primary residence without the provision of a long ramp.

Home modifications will adhere to Australian Standard 1428.1 as far as reasonably possible. If space restrictions or unique and specific needs of the client do not allow for adherence with AS 1428.1, this must be thoroughly documented by the prescribing clinician.