Specific Eligibility Criteria: Major Bathroom Modifications

| Assessor / Prescriber | Prescriber Level | Delegate approval required |
| --- | --- | --- |
| Occupational Therapist | Occupational Therapist | Yes |

Definition: Modification to the bathroom to compensate for a permanent functional loss. Usually involves removal of a bath or shower hob and re-grading floor to create a step-less shower recess.

Modifications Completed (as clinically required):

•	Remove shower hob, track and screen

•	Remove bath for conversion to a step-less shower

•	Reconfigure plumbing for conversion from a bath to a shower

•	Regrade floor

•	Install an adjustable height shower hose

•	Create a shower recess

•	Tile within the shower recess to a height of 2000mm and to the meet legislative building requirements

•	Tile to height of one tile around bathroom floor and above vanity

•	Relocate vanity basin

•	Replace vanity basin with a model that allows leg clearance underneath

•	Relocate toilet within the same room

•	Install slip resistant floor tiles which will be 100mm square and from a limited colour selection

•	Install stainless steel grab rails

•	Relocate or cover power outlet/ light switch to comply with bathroom electrical safety standards

•	Replace taps with lever style taps

•	Install a shower curtain rail and weighted curtain

•	Relocate existing mirror

Features not provided:

•	Exhaust fan

•	Room heater

•	Shower screen or door

•	Vanity unit or bathroom cupboards

•	Towel rails

•	Mirror (unless broken in re-sitting)

•	Lights or sky lights

•	Hot water systems

•	Baths, hip baths or spas including replatement of a bath that is rermoved (reinstallation of client’s own bath is included if clinically justified for paediatric clients with younger siblings)

•	Decorative tiles or painting

•	Retiling of entire floor for aesthetic purposes

•	Repairs or upgrades to any existing structures or systems e.g. elictical wiring, floorboards, hot water systems

•	Soap holders/dispenders

•	Toilet cistern

Clinical indicators for provision of Major Bathroom Modifications:

Only provided with authorisation from the specified delegate(s) and when it can be demonstrated that one or more of the following tasks impact on any of the Key Approval Criteria for Home Modifications:

- Tasks of daily living: The client, with or without carer assistance is unable to safely complete showering and/ or toileting without provision of the bathroom modification.

- Transfers: The client or their carer(s) are unable to complete safe transfers for showering or toileting without the home modification.

AND when:

- More cost effective equipment options and/ or support services have been trialled and are not appropriate AND

- All the General Home Modification and Major Home Modification criteria are met.

Home modifications will adhere to Australian Standard 1428.1 as far as reasonably possible. If space restrictions or unique and specific needs of the client do not allow for adherence with AS 1428.1, this must be thoroughly documents by the prescribing clinician.

# Text boxes

Check for  latest e-version as printed copies may be  out of date 		Released 17/5/2013

Phone: 1300 295 839			Fax 1300 295 839		Email: equipment.feedback@dcsi.sa.gov.au

Check for  latest e-version as printed copies may be  out of date 		Released 17/5/2013

Phone: 1300 295 839			Fax 1300 295 839		Email: equipment.feedback@dcsi.sa.gov.au